## Sheet1
2021-01-14 13:39 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | CD apartment on Sonora side | AZSO GCD called to let CDOC know a fire alarm had gone off in AZSO and GCD was comfortable handling the situation without CDOC responding
AZSO GCD called back after source of fire alarm was found to be the empty CD apartment on the Sonora side of AZSO. Multiple calls between CDOC, GCD, and MOD. CDOC responded in person and got approval to cut chain lock on CD apartment and found that residents have been using the apartment as a &quot;party room&quot;. See IR and MOD report for details.
2021-01-23 14:19 | 118 | La Paz | Residential-R2 | False Alarm | na | UAPD in building because a cap was knocked off a fire alarm and it began alarming. UAPD had to respond to shut it off, building was not evacuated.
2021-01-24 09:49 | 9 | Maricopa | Residential-R2 | False Alarm | 316 | DA called to inform CDOC 2 of a fire alarm sounding in one room in MARI. Building was not evacuated.
2021-01-29 14:25 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | 926 | DA called to inform CDOC about the fire alarm going off. UAPD responded and informed DA that it had been due to smoke in a room on the 9th floor of the Arizona side of AZSO. No other information was given before UAPD left the building and CDOC was informed. Burnt food in microwave.
2021-01-31 06:15 | 167a | Honors Village | Residential-R2 | False Alarm | 3005 | At 2&%2358;15 fire panel went off in a resident room. Resident had been straightening their hair. Building did not evacuate. RA called to give CDOC case number.
2021-01-31 15:32 | 83/84 | Arizona/Sonora | Residential-R2 | False Alarm | 208 | For the alarm on 1/31, the RAOD said “It was just the smoke detector in the room in 208 went off. UAPD came to check out if there was any smoke or fire and they found none”. Both residents were in the room at the time.
2021-01-28 16:49 | 85 | Coronado | Residential-R2 | False Alarm | 464 | UAPD was in the building due to the fire alarm. Food burn in the microwave.
2021-01-28 07:33 | 167a | Honors Village | Residential-R2 | False Alarm | 6099 | UAPD came into the building to shut of the fire alarm due to rice cooker steam.
2021-01-28 16:55 | 85a | La Aldea | Residential-R2 | False Alarm | 124a | GRA called about room smoke detector going off repeatedly. CDOC told RA to follow up with residents and call UAPD to turn off alarm.
2021-02-01 06:09 | 83/84 | Sonora/Arizona | Residential-R2 | False Alarm | 927 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; In alarm
Actions Preformed&%2358; Investigate cause of alarm
Cause of Alarm&%2358; Resident was spraying perfume, set off smoke detector
2021-02-03 04:10 | 50/50a | Apache/Santa Cruz | Residential-R2 | False Alarm | 1st floor | Fire Alarm 1st floor santa cruz by North West stairs; check area and reset the device and panel. resident had got out of control and pulled the pull station
2021-02-02 12:50 | 167a | Honors Village | Residential-R2 | False Alarm | 4082 | DA called to report fire panel alarm due to resident cooking. UAPD responded to turn off the alarm, determining there was no smoke or concern for fire.
2021-02-10 03:50 | 131 | Likins | Residential-R2 | False Alarm | Bldg B Lvl 1 A113 Duct Detector | Res Life Maint was working on an air handling unit. They bypassed the slow start-up feature and unit blew dust throughout duct work setting off multiple duct detectors.
2021-02-10 10:45 | 167a | Honors Village |  | False Alarm | 3078 | Smoke alarm sounded and UAPD responded. UAPD shared the cause of the smoke alarm was a microwave, though there was no smoke or fire.
2021-02-16 15:09 | 52/53 | Graham-Greenlee | Residential-R2 | False Alarm | By 289 | A fire alarm went off in the building and UAPD responded and were able to shut off the alarm. However, the red fire alarm pull box in the hallway was broken so UAPD called the Fire Dept. to come fix the red fire alarm pull box. RA to write IR.
2021-02-16 01:30 | 59/60 | Navajo-Pinal | Residential-R2 | False Alarm | 375 | Fire Alarm went off in NAPI, UAPD responded to Bear Down Kitchen in building 58e as that is where the alarm originated. There was no fire.
2021-02-25 00:55 | 85a |  | Residential-R2 | False Alarm | 127 | UAPD responded to a fire alarm. The unit in 127 was the issue and RLM responded to replace them. battery operated smoke.
2021-02-28 14:31 | 8 or 52/53 | Gila or GRGR | Residential-R2 | False Alarm | 248 | RA called about room fire alarm of vacant room going off. Advised called UAPD to dispatch someone about the alarm. UAPD responded and turned off alarm, RA to file maintenance request.
2021-03-04 21:26 | 131 | Likins | Residential-R2 | False Alarm | By 201 | CD of building informed CDOC of fire alarm that went off in the building due to an electrical short from a light fixture outside of room 201.
UAPD and University Fire responded and cleared the building. Maintenance request submitted by CD for light fixture.
2021-03-08 12:33 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | 727 | Fire alarm went off due to popcorn.
2021-03-08 13:29 | 7/7a | Manzanita-Mohave | Residential-R2 | False Alarm | 108 Manzanita kitchen | Student burned food in 1st floor kitchen room 108 (on Manzanita side) and set off building fire alarm. Building fully evacuated.
2021-03-10 16:47 | 31 | Cochise | Residential-R2 | False Alarm | Basement kitchen | CDOC called RAOD back for fire alarm update. RAOD said someone burned ramen while cooking in the kitchen in the basement. UAPD said there was a lot of smoke, so alarm started in the kitchen and then set off the basement's bathroom alarm and then the 1st floor alarm, thus causing entire building to evacuate.
2021-03-12 16:00 | 167a | Honors Village Dorm | Residential-R2 | False Alarm | 4053 | RA called to inform CDOC of a fire alarm sounding in one room in HNRV due to burnt popcorn. Building not evacuated.
2021-03-16 17:21 | 167a | Honors Village | Residential-R2 | False Alarm | main lobby | DA Cazamere Bailey called to report the fire panel in the main lobby was going off. CDOC instructed the DA to call UAPD to come and assess.
2021-03-16 18:30 | 167a | Honors Village | Residential-R2 | False Alarm | Main lobby | DA called to report the the fire panel alarmed again and then stopped after 20 minutes. UAPD came again to assess the issue.
2021-03-21 16:20 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | AZSO Kitchen | RAOD called to inform CDOC that the fire alarm had gone off in the kitchen. Smoke but no fire. No evacuation. UAPD responded.
2021-03-19 05:36 | 10 | Yuma Hall | Residential-R2 | False Alarm | 226 | &%2358; Resident was cooking food and burnt it causing the smoke detector to go in to alarm
2021-03-22 08:22 | 132 | Arbol de la Vida | Residential-R2 | False Alarm | By 106 | Resident bumped fire alarm pull station, causing it to go off. Emergency maintenance contacted due to Fire Safety not answering phone calls.
Multiple calls between Em. Maintenance and front desk, situation resolved after entire building was tripped to reset system.
2021-03-23 12:37 | 167a | Honors Village | Residential-R2 | False Alarm | 4078 | Smoke detector sounding in room without smoke or fire. RAOD called UAPD to reset, but detector not responding. UAPD called Johnson Controls to disconnect detector, and JCI will respond later in week to fix.
2021-03-23 11:23 | 167a | Honors Village | Residential-R2 | False Alarm | 2061 | Resident burnt food while cooking in apartment, resulting in building evacuation. UAPD &amp; TFD responded and reset alarm
2021-03-25 16:00 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | 7th floor in room / hallway | RA informed CDOC that fire alarm went off and UAPD responded to the hall. Resident was seen walking down the hall with a White Claw and
UAPD addressed incident. RA to write IR.
2021-03-27 15:10 | 167a | Honors Village | Residential-R2 | False Alarm | 6099 | Student Staff called to inform CDOC 2 that the Fire Alarm was sounding for room 6099 after the student burned some food while cooking.
2021-03-26 10:57 | 83/84 | Arizona-Sonora | Residential-R2 | False Alarm | 809 | RA called to inform CDOC that UAPD was in building responding to a smoke detector in AZSO room 809. Reason for smoke detector going off was burnt popcorn.
2021-03-30 14:21 | 167a | Honors Village | Residential-R2 | False Alarm | na | Multiple calls with DA, RAOD, PM, and MOD. DA reported fire panel alarm was going off and UAPD was unable to turn it off. UAPD contacted ACC with no resolution. CDOC approved DA to call out to ACC and ACC responded in person. Building PM worked with ACC and they determined it was actually an alarm on a nearby door and was separate from the error message on the fire panel. ACC worked on the door alarm issue and will fix the fire panel the next day.
2021-04-07 07:30 | 167a | Hall/Honors Village | Residential-R2 | False Alarm | 4021 | Smoke alarm sounded for cooking. UAPD responded and determined there was no fire
2021-04-08 22:35 | 85a | La Aldea | Residential-R2 | False Alarm | 121 | UAPD and Tucson Fire responded due to a fire alarm. Tucson Fire inspected the apartment and determined it was likely due to a water diffuser.
2021-04-13 05:45 | 167a | Honors Village | Residential-R2 | False Alarm | 1049 | HNRV evacuated due to a fire alarm caused by burnt toast in a toaster oven. UAPD responded. See IR.
2021-04-16 14:23 | 123 | Pueblo de la Cienega | Residential-R2 | False Alarm | by 309/310 | Fire alarm went off and was pinpointed outside 309/310 pod suite. Building evacuated.
2021-04-16 18:45 | 167a | Honors Village | Residential-R2 | False Alarm | 1083 and 4078. | While CDOC was responding to another incident, she found the HRNV Fire Panel sending a trouble alarm for rooms 1083 and 4078. CDOC worked with UAPD to check the spaces and silence the alarm. No fire or smoke was found in either space.
2021-04-17 19:04 | 85 | Coronado | Residential-R2 | False Alarm | 5th floor | RAOD called to report a fire alarm that was sounding on the 5th floor only. CDOC instructed RA to call UAPD to have them come to silence the alarm. The alarm turned itself off before UAPD was contacted.
2021-04-30 11:33 | 167a | Honors Village | Residential-R2 | False Alarm | 1083 | An alarm panel was sounding due to a dirty smoke detector in Office 1083. UAPD responded and resolved the situation.
2021-05-02 02:07 | 167a | Honors Village | Residential-R2 | False Alarm | 3rd floor | Alarm panel was sounding. UAPD responded and called panel company for assistance in turning off. No fire or other issues were found on 3rd floor.
2021-05-02 23:27 | 167a | Honors Village | Residential-R2 | False Alarm | na | Alarm panel was sounding. Alarm stopped and UAPD response was no longer needed.
2021-05-04 01:36 | 151 | Babcock | Residential-R2 | False Alarm | c112 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; In alarm
Actions Preformed&%2358; Approached by contractors working in the room causing dust. Checked rooms, no smoke/fire
Cause of Alarm&%2358; Contractors removing flooring. They had taped the smoke detectors up in both rooms they were working in. Smoke detectors will now have to be replaced. Pictures attached.
Status on Departure&%2358; Per Joe Branaum they were issued a 1st floor smoke bypass and will be submitting a shut down request.
2021-05-09 04:13 | 31 | Cochise | Residential-R2 | False Alarm | Kitchen room 6 | RAOD shared the fire alarm sounded at 7&%2358;30 AM due to a resident cooking and accidentally burning eggs.
2021-05-08 07:55 | 167a | Honors Village | Residential-R2 | trouble | panel | DA asked for permission to callout to ACC due to fire panel alarm malfunction, as it had no location or problem indicated. Callout approved.
2021-05-11 05:00 | 132 | Arbol de la Vida | Residential-R2 | False Alarm | 1st floor - room %23 na | RAOD reported UAPD in building due to smoke alarm. Room noted on fire panel was empty and no smoke/fire present.
2021-05-16 03:50 | 151 | Babcock | Residential-R2 | False Alarm | D206 | Initially Reported&%2358; Fire alarm 2nd floor In room D206
Status on Arrival&%2358; in trouble
Actions Preformed&%2358; Checked panel after UAPD call me out and found a trouble after they had reset the panel I went to the room and found the device disconnected I reconnected the device and cleared the panel
Cause of Alarm&%2358; dust from demo of walls in bathroom
Status on Departure&%2358; panel and device back to normal.
2021-05-24 00:40 | 123 | Pueblo De La Cienega | Residential-R2 | False Alarm | 292 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; In alarm
Actions Preformed&%2358; Painter from Res Life notified us he was sanding in the room. Checked room, no smoke/fire
Cause of Alarm&%2358; Res Life Painter using sander on drywall in room
Status on Departure&%2358; Cleared alarm, instructed painter not to use electric sander as it creates too much dust.
2021-06-02 11:45 | 8 | Gila | Residential-R2 | False Alarm | na | UAPD in building due to fire panel beeping. FLS informed of dust being the issue &amp; UAPD reset panel.
2021-06-03 02:09 | 31 | Cochise | Residential-R2 | False Alarm | 119 | Res Life custodial were cleaning and hit the smoke detector
2021-07-14 15:40 | 121 | Villa del Puente | Residential-R2 | False Alarm | na | UAPD dispatch called asking for CDOC presence at VDP due to a fire alarm sounding and UAPD officers not having access to check a room. UAPD dispatch called CDOC again after a few minutes stating that UAPD accessed the space and were leaving, and that CDOC presence was no longer needed. UAPD dispatch stated there was no smoke or fire.
UAPD Case Number
V211950051
2021-07-26 05:46 | 118 | La Paz | Residential-R2 |  | L225 | False Alarm
Device ID&%2358; M3-18
Device Location&%2358; In room L-225
Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; Alarm silenced by UAPD
Actions Preformed&%2358; Checked room, no smoke/fire
Cause of Alarm&%2358; Custodial cleaning
2021-07-29 06:00 | 132 | Arbol De La Vida | Residential-R2 |  | By C412 | Initially Reported&%2358; Fire alarm Building C level 4 By room 412
Status on Arrival&%2358; In alarm
Actions Preformed&%2358; checked are no smoke no fire tried to reset the system and failed I checked the device and found water in the device I removed the device and checked 4 more devices and fore 2 others with water damage. I disconnected the devices and reset the system.
Cause of Alarm&%2358; water damage from AC units drains were plugged.
Status on Departure&%2358; devices removed and panel in trouble from 3 missing devices. Panel back on line
2021-08-02 06:30 | 8 | Gila |  | trouble | In 202 | Nature&%2358; Trouble
Device ID&%2358; M2-8
Device Location&%2358; In room 202
Initially Reported&%2358; Device reported No Answer
Status on Arrival&%2358; No Answer
Actions Preformed&%2358; Replaced pull station
Cause of Alarm&%2358; Device went bad
Status on Departure&%2358; Panel clear
2021-08-02 06:00 | 167a | Honors Village Dorms | Residential-R2 | False Alarm | facp | Fire panel was beeping with trouble light on. GCD contacted fire safety to get more info or to resolve issue.
2021-08-10 17:50 | 61a | East Stadium | Residential-R2 | False Alarm | na | There were 3 room leaks last night at the stadium, 375, 245, and 229
RA called CDOC to inform that a fire alarm went off at Stadium Hall at 11&%2358;50pm, and that UAPD responded to the building. UAPD Officer Timpani informed RA that the Fire Alarm went off due to a leak in Sierra Hall. UAPD Case Number V212220052.
2021-08-12 14:31 | 85a | La Aldea |  | False Alarm | 411 | GRA called CDOC about a fire alarm going off in La Aldea 411 without any form of fire or smoke. UAPD stated there was no visible cause of what set off the alarm. Maintenance request placed by GRA for later inspection. UAPD Case Number V212240090
2021-08-12 01:36 | 34 | Yavapai | Residential-R2 | False Alarm | 1st floor | Smoke detector on first floor going off for an unknown reason. UAPD arrived to reset fire panel.
2021-08-16 15:43 | 83/84 | Arizona/Sonora | Residential-R2 |  | 11th Floor Stairwell (Electrical area) | Building wide fire alarm dump - CDOC 2/GCD Julia contacted CDOC 1. Nothing was found from alarm trigger. UAPD Case Number V212280083
2021-08-19 01:17 | 121 | Villa Del Puente | Residential-R2 | False Alarm | 391 | Cause of Alarm&%2358; dirty smoke detector
2021-08-18 12:00 | 151 | Babcock | Residential-R2 | False Alarm | b101 | CD called to inform that UAPD had responded earlier in the day to a smoke alarm that had gone off in the kitchen while resident was cooking.
2021-08-17 21:30 | 123 | La Cienega | Residential-R2 | False Alarm | LCIN 1st floor - outside of room 149 | CD contacted CDOC that fire alarm was triggered around 4&%2358;30am for a building wide dump due to smoke identified in the hallway- no smoke was found. Officers said rain may have triggered it.
UAPD Case Number V212290002
2021-08-21 20:41 | 121 | VDP | Residential-R2 | False Alarm | VDP 2nd floor hallway | RA called CDOC because alarm was going off after plastic cover had been bumped on fire pull. CDOC asked RA to replace the plastic lid and the alarm stopped.
2021-08-23 00:10 | 132 | Arbol De La Vida | Residential-R2 | False Alarm | B100 Main Lobby North | Fire alarm
Status on Arrival&%2358; UAPD was in process of resetting alarm.
Actions Preformed&%2358; Spoke with UAPD, no smoke/fire
Cause of Alarm&%2358; Person pulled pull station
Status on Departure&%2358; Panel clear
2021-08-21 15:40 | 85a | La Aldea | Residential-R2 | False Alarm | 117 | UAPD could not reset alarm
Status on Arrival&%2358; In alarm, detector normal
Actions Preformed&%2358; Reset fire alarm panel
Cause of Alarm&%2358; UAPD reported could not ascertain why alarm went off
Status on Departure&%2358; Panel Clear
2021-08-26 12:16 | 83/84 | Arizona/Sonora | Residential-R2 | False Alarm | 427 | RA reported UAPD in the building due to a smoke detector going off in a room. A burnt burrito set off the detector. UAPD Case Number V212380075
2021-09-07 03:41 | 135 | Pima Residence Hall | Residential-R2 | False Alarm | 302 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; Detector in alarm
Actions Preformed&%2358; Checked room, no smoke/fire
Cause of Alarm&%2358; Suspected occupant was using E-Cig
Status on Departure&%2358; Panel clear
2021-08-29 14:05 | 167 | HonorsVillage Dorm |  | False Alarm | 4072 | RA called CDOC to report a fire alarm going off in resident room. Advised to wait in the lobby for UAPD and call back with case number. UAPD Case Number V212410081
2021-08-27 20:15 | 167 | Honors Village Dorms | Residential-R2 | False Alarm | 4074 | Fire alarm went off after resident burnt food in room. Building evacuated. UAPD Case Number V212400012
2021-08-31 09:26 | 131 | Likins |  |  | a304 | Believed to be in Room A304 Description Likin CD called to report fire alarm in student room. UAPD responded, full building alarm did not go off. Fire Safety will be checking alarm to determine why it didn't go off. UAPD Case Number V212430038
2021-09-05 17:43 | 85a | La Aldea | Residential-R2 |  | 306 | GRA called CDOC to inform them of an apartment fire alarm going off. UAPD responded and stated they could not do anything. Call out to emergency maintenance approved. GRA to file IR.
UAPD Case Number
V212490002
2021-09-08 03:52 | 50/50a | Santa Cruz/ Apache Residence Halls |  |  | 345 | Device Location&%2358; in room 3rd fl rm 345
Initially Reported&%2358; fire alrarm
Status on Arrival&%2358; in alarm, no smoke no fire
Actions Preformed&%2358; investigate cause of fire alarm
Cause of Alarm&%2358; resident was spraying febreze
Status on Departure&%2358; panel clear
2021-09-08 05:30 | 167a | Honors Village | Residential-R2 | False Alarm | 1047 | PM called CDOC to let them know that the fire alarm went off in HNRV which lead to an evacuation of the building. UAPD Case Number V212510022
2021-09-08 13:03 | 167a | Honors Village Dorm |  | False Alarm | 1049 | PM called CDOC to let them know that the fire alarm went off in HNRV which lead to an evacuation of the building. UAPD Case Number U2109080013
2021-09-10 12:43 | 167a | Honors Village Dorm | Residential-R2 | False Alarm | na | RA called CDOC to inform about a fire alarm that occurred in HNRV. RA informed CDOC that UAPD reported to the building. CDOC contacted RAOD for further details explaing that the fire was caused due one roommate showering and the next straighten their hair. RAOD ensured CDOC everything was handled and cleared in short amount of time.
2021-09-11 11:36 | 50/50a | APSC | Residential-R2 | False Alarm | na | DA called to inform CDOC an alarm was going off in a wing due to an unknown student lifting the box to the fire alarm pull. DA had called UAPD who instructed DA to check the box, and DA was able to shut the box to turn off the sound.
2021-09-13 12:02 | 131 | Likins | Residential-R2 | False Alarm | 537 | LKNS fire alarm went off due to residents cooking garlic bread in microwave. UAPD and Fire Company responded. CDOC was already in building. Please see IR. UAPD Case Number V212560045
2021-09-14 14:21 | 132 | VIDA | Residential-R2 | False Alarm | a310 | CD of building informed CDOC that firm alarm went off in VIDA. UAPD cleared the alarm. UAPD Case Number V212570055
2021-09-15 03:15 | 85a | La Aldea | Residential-R2 | False Alarm | na | ALDE Office Specialist contacted CDOC regarding ALDE fire alarm going off. CDOC responded in person. Fire Alarm went off due to HVAC accidentally setting it off while working on elevator. Please see IR. UAPD Case Number V212580023
2021-09-15 16:39 | 50/50a | APSC | Residential-R2 | False Alarm | 3RD FLOOR | RA contacted CDOC regarding fire alarm going off in APSC. CDOC and CD of building were present. After speaking with UAPD, it was determined that an individual in SC took the fire extinguisher and sprayed it down the hallway near room 313, which set the alarm off. Additionally, the sprinkler was covered with duck tape. Please see IR.
2021-09-20 00:21 | 83/84 | AZSO | Residential-R2 | False Alarm | 4th Flr AZ Elevator Lobby | Unknown person hung face mask on smoke detector. Res Life Custodial removed mask setting off alarm
2021-09-20 06:00 | 85a | La Aldea | Residential-R2 | False Alarm | 117 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; Res Life Maintenance had smoke detectors pulled down for replacement
Actions Preformed&%2358; checked room, no smoke/fire
Cause of Alarm&%2358; Res Life maintenance installing new smoke detectors
Status on Departure&%2358; Left point bypassed so they could finish work
2021-09-18 13:42 | 50/50a | Apache/Santa Cruz | Residential-R2 | False Alarm | Apache 357 | Fire alarm in room. Resident was blow drying hair and alarm went off. See IR. UAPD Case Number V212610088
2021-09-18 19:32 | 83/84 | AZSO | Residential-R2 | False Alarm | 9th floor stairwell | RAOD called about fire alarm AZ 9th side stairwell UAPD Case Number U212620009
2021-09-18 13:25 | 167a | Honors Village |  |  | 1049 | Fire alarm went off in resident's room from cooking. UAPD responded. UAPD Case Number V212610085
2021-09-18 13:12 | 52/53 | GRGR | Residential-R2 | False Alarm | by 309 | RAOD called to inform CDOC of fire alarm going off. UAPD in building assessing scene. Students evacuated. Will call back with more information. Smoke detector in front of 309 UAPD Case Number V212610084
2021-09-18 12:12 | 85a | La Aldea | Residential-R2 | False Alarm | na | GRAOD called because an alarm was going off in a resident apartment hallway but resident wasnt cooking or anything. Alarm stopped. Consulted to still call UAPD to ensure everything was operational and submit maintenance request. Officer Volker checked everything out and all was good to go. UAPD Case Number U212610078
2021-09-20 12:50 | 85a | La Aldea | Residential-R2 | False Alarm | 330 | GRA called about room smoke detector going off. CDOC advised to call after hours maintenance as the sound indicated low batteries. Maintenance asked to call UAPD and have work order put in for tomorrow. UAPD Case Number V212630062
2021-09-20 11:30 | 31 | Cochise | Residential-R2 | False Alarm | na | Fire drill
2021-09-20 09:31 | 85a | La Aldea | Residential-R2 |  | na | Fire drill
2021-09-20 08:31 | 132 | Vida | Residential-R2 | False Alarm |  | Fire drill
2021-09-20 18:32 | 151 | Babcock | Residential-R2 |  | d310 | RA notified CDOC that UAPD responded to address fire alarm sounding for Room D310 due to smoke from microwave. UAPD Case Number V212640001
2021-09-20 05:27 | 85a | La Aldea |  | False Alarm | 127a | Mara called to report room smoke detector chirping for low batteries. CDOC advised to call maintenance.
2021-09-21 07:01 | 131 | Likins | Residential-R2 | False Alarm | c633 | Initially Reported&%2358; Fire alarm
Status on Arrival&%2358; In alarm, room full of smoke.
Actions Preformed&%2358; Investigate cause of alarm, vent smoke from room. Resident had left the building and went to practice.
Cause of Alarm&%2358; Resident burnt bread in the microwave causing smoke to set off smoke detector.
Status on Departure&%2358; Panel clear
2021-09-23 09:10 | 167a | Honor's Village Dorm | Residential-R2 | False Alarm | na | Fire drill
2021-09-28 18:15 | 83/84 | Sonora/Arizona Residence Halls | Residential-R2 | False Alarm | 8th floor AZ in Mechanical room 800 | Student lit fire under sprinkler head according to HMS
2021-09-28 17:30 | 121 | VDP | Residential-R2 | False Alarm | POD 205-206 | RAOD called to inform CDOC of fire alarm going off in pod area due to steam. UAPD responded. UAPD Case Number V212710078
2021-09-28 10:51 | 50/50a | APSC |  | False Alarm | na | Fire Alarm Time September 28, 2021 5&%2358;51 pm Location APSC Description RA called due to fire alarm going off in building. No information as to what caused the evacuation.
2021-09-28 08:44 | 118 | LPAZ | Residential-R2 | False Alarm | L219 | RA called to inform CDOC of TPD's presence in building after a fire alarm was set off in room from blowing drying hair. UAPD Case Number T2173066
2021-09-28 17:54 | 83/84 | AZSO | Residential-R2 | False Alarm | na | AZSO CD called because there was a fire occurring in AZSO. CDOC 2 was later notified that CDOC 1 would assist with issue and to be on stand by for any further assistance.
2021-09-28 14:37 | 167a | HNRV | Residential-R2 | False Alarm | 6066 | Description DA called regarding fire alarm going off. It was determined that it was set off due to burnt food. UAPD Case Number V212710063
2021-09-28 17:31 | 83/84a | AZ8th floor | Residential-R2 | False Alarm | 8th floor Arizona | GCD of AZSO called to report fire and sprinklers going off on AZ8 floor. Multiple calls exchanged with GCD and MOD throughout the night. CDOC responded in person with linens. Facilitated temporary moves for residents affected.
2021-09-30 00:01 | 167a | HNRV | Residential-R2 | False Alarm | 5033 | DA called due to a resident's fire alarm going off in their room. The alarm was triggered due to a humidifier in the space. UAPD Case Number U212730018
2021-10-04 14:28 | 85 | Coronado | Residential-R2 | False Alarm | 640 | RA called to inform CDOC of UAPD presence in the building responding to a smoke alarm in CORO 640. UAPD checked room &amp; everything okay. See IR for details.
UAPD Case Number
V212770056
2021-10-05 16:55 | 83/84 | AZSO |  | False Alarm | Basement | Multiple calls. RA and GCD called regarding fire alarm that went off in building due to overload of washer 3 on Sonora side. Building evacuated, GCD of building was present, and fire truck was arriving as RA called. CDOC asked if response in-person was needed, RA declined. GCD called needing to access Sonora side riser room and neither master or submaster key was opening door. About to approve call to EHMS when building got all clear. Number from firefighters&%2358; 2175160
UAPD Case Number
V212780061
2021-10-05 18:22 | 85 | Coronado | Residential-R2 | False Alarm | 936 | RAOD called CDOC to let them know about a fire/smoke alarm going off in room, and that UAPD and Firefighters were in building, and turned it off.
UAPD Case Number
V212790006
2021-10-06 16:32 | 50/50A | APSC |  | False Alarm | 344 | RA called to let CDOC know of UAPD presence in the building due to fire alarm for room 344. UAPD arrived and determined diffuser scent was too strong and set off the fire alarm. UAPD gave all clear.
2021-10-06 17:30 | 85 | Coronado | Residential-R2 | False Alarm | na | Description RA called CDOC due to the cap of the box for the fire alarm pull was dislodged, causing a very loud ringing noise. CDOC asked that the call UAPD. When asking for an update, they noted that once they put the cap back on the fire alarm box, the ringing stopped, and UAPD was not called.
2021-10-08 09:17 | 85a | La Aldea | Residential-R2 | False Alarm | 414 | A couple calls about fire alarm going off in room 414. UAPD responded and indicated not sign of fire, and called dispatch to have it disarmed because believed to be malfunction issue. Emergency maintenance call approved and residents emailed.
UAPD Case Number V212810037
2021-10-11 14:33 | 132 | Vida |  | False Alarm | Laundry room B101 | RA called about fire alarm in VIDA laundry room %23 B101 that RAs believe had been knocked out of place and was sounding. While on the phone RAs reported the alarm stopped. CD called UAPD to confirm panel was not set off and no fire threat was present. See IR.
2021-10-12 20:44 | 167a | Honors Village Dorm |  | False Alarm | 6066, 6057 | UAPD was in building due to room fire alarm, set off by burnt food.
UAPD Case Number V212860014
2021-10-12 12:20 | 123 | La Cienega |  |  | 159 | smoke detector in Cienega 159 was going off due the use of a toaster. UAPD reset the fire alarm and fire panel. The case number I have from UAPD is&%2358; V212850057
2021-10-14 05:01 | 167a | Honors Village Dorm |  |  | third floor hallway | Building CD informed CDOC that UAPD was in building to investigate residents claim of gas smell on a third floor hallway. UAPD did not find anything. UAPD Case Number V212870024
2021-10-14 14:55 | 122 | Posada San Pedro | Residential-R2 | False Alarm | 148 | RA called because fire panel at desk was sounding and UAPD had arrived. UAPD believed alarm was triggered by burnt food, gave all clear.
UAPD Case Number V212870066
2021-10-14 17:12 | 79/79a | KAHU | Residential-R2 | False Alarm | basement | Description CD of building called for fire alarm. UAPD determined pull station in basement triggered alarm but no threat found. See IR.
2021-10-15 05:14 | 31 | Cochise |  | False Alarm | 301 | Actions Preformed&%2358; checked room and found smoke coming from cooking pot I let the smoke clear and reset the device and panel
Cause of Alarm&%2358; cooking oil over heated
Status on Departure&%2358; device and panel clear and normal
2021-10-16 09:29 | 31 | Cochise |  | False Alarm | 307 | RAOD contacted CDOC regarding a fire alarm that was going off in COCH 307. Resident forgot to put water in easy-mac. Please see IR for further details. UAPD Case Number V212890055
2021-10-16 10:56 | 50/50a | APSC |  | False Alarm | 138 | Fire Alarm Time October 16, 2021 5&%2358;56 pm Location APSC 138 Description RAOD called to report a fire alarm going off due to smoke in the kitchen. CDOC responded and UAPD reset the panel and gave the all clear.
UAPD Case Number U212890064
2021-10-17 06:28 | 50/50a | APSC | Residential-R2 | False Alarm | 310 | RA called because UAPD responded to fire alarm going off in a room. Residents were not present but cause was due to incense, and RAs noted alcohol in the room. UAPD Case Number V212900019
2021-10-17 14:23 | 135 | Pima Lodge |  | False Alarm | 302 | Description GCD contacted CDOC regarding the lodge side of PIMA being evacuated due to someone burning bacon. Please see IR for further details.
UAPD Case Number V212900048
2021-10-18 04:08 | 83/84 | Sonora/Arizona | Residential-R2 | False Alarm | 209 | Resident burnt popcorn.
2021-10-18 11:15 | 57 | Hopi | Residential-R2 |  | 38 | Room fire alarm in Hopi went off due to burnt popcorn.
UAPD Case Number V212910034
2021-10-19 17:46 | 83/84 | Arizona/Sonora | Residential-R2 | False Alarm | 306 | RAOD called CDOC to explain a fire alarm was going on in one single room and that UAPD was notified to assist.
UAPD Case Number V212930001
2021-10-19 18:54 | 85 | Coronado | Residential-R2 | False Alarm | 228 | RAOD called CDOC to explain a fire alarm was going on in one single room and that UAPD was notified to assist.
UAPD Case Number V212930002
2021-10-19 17:03 | 8 | Gila | Residential-R2 | False Alarm | 105 | Fire alarm went off in GIla due to burnt food in kitchen
UAPD Case Number V2129220053
2021-10-21 04:23 | 167a | Honors Village |  | False Alarm | 4075 | RA called to report that room alarm had gone off and UAPD responded to turn off the alarm.
UAPD Case Number V212940027
2021-10-24 03:25 | 151 | Babcock | Residential-R2 | False Alarm | D322 | RA's smoke alarm went off due to cooking in their room. UAPD responded and turned off the alarm
UAPD Case Number V212970015
2021-10-23 07:45 | 79/79a | KAHU |  | False Alarm | 2nd Floor CenteR | RAOD reported fire alarm going off on only one location. UAPD and CDOC responded in-person. UAPD turned off the alarm and determined the cause unknown.
2021-10-22 20:42 | 118 | La Paz | Residential-R2 | False Alarm | A210 | Description CD informed CDOC that the same pull station as before reacted again but was not pulled this time.
UAPD Case Number V212960019
2021-10-22 20:05 | 118 | La Paz | Residential-R2 | False Alarm | A210 | CD informed CDOC that pull station for A210 was pulled at about 3&%2358;05am. CD and GCD on scene. UAPD cleared the building
UAPD Case Number V212960017
2021-10-25 12:44 | 123 | La Cienega | Residential-R2 | False Alarm | 249 | RAOD called that fire panel was going off. CDOC let them know to contact UAPD. RAOD called back and let CDOC know that residents left room with candle on and fire alarm was triggered. RAOD provided case number and wrote IR.
UAPD Case Number V212980040
2021-10-25 14:06 | 7/7a | Manzanita/Mohave | Residential-R2 | False Alarm | 106 | Description RA called due to fire alarm activated in building. UAPD arrived and determined it was caused by an overloaded washer machine.
UAPD Case Number V212980041
2021-10-26 16:14 | 85 | Coronado | Residential-R2 | False Alarm | 748 | • Description - Alarm went off in room with out any cause. RAs were instructed by UAPD to submit a work order, for maybe the air ducts triggered alarm.
• Case %23 - V2192990053
2021-10-27 01:55 | 131 | Likins | Residential-R2 | False Alarm | FACP front desk | Fire panel had been going off, and stating bypass. CDOC requested RA to contact UAPD for further assessment. UAPD told RA to call Fire Safety. Fire Safety did not answer. CDOC contacted facilities. Facilities told CDOC they would give GMM a heads up. CDOC followed up with DA around 11 am and alarm had been off.
2021-10-30 15:38 | 7/7a | MZMO |  |  | Kitchen | Location MZMO Description RA called CDOC to notify them of the fire alarm going off in MZMO caused by cooking in kitchen, and no vent circulation currently. CDOC asked that signs be put up sometime over the weekend until it has been fixed to help mitigate future fire alarms.
UAPD Case Number V213030078
2021-10-30 13:52 | 50/50a | Apache/Santa Cruz | Residential-R2 |  | 246 | RA called CDOC to let them know a fire alarm went off due to a curling iron. UAPD talked to residents and confirmed then reset the panel.
UAPD Case Number V213030075
2021-10-29 10:23 | 118 | La Paz |  | False Alarm | s317 | DA called CDOC to inform them that a fire alarm went off in S317. UAPD arrived and no residents were present. DA keyed in with UAPD where they found burnt food melting a plastic container which caused the alarm to go off. No damage and no injuries. See IR.
UAPD Case Number V213020059
2021-10-31 07:12 | 50/50a | Apache/Santa Cruz | Residential-R2 | False Alarm | 206 | Description RA called CDOC to let them know a room alarm went off due to burnt food. When UAPD went to check, they noticed a marijuana odor and gave the residents a verbal warning.
UAPD Case Number V213040043
2021-11-01 01:53 | 118 | La Paz | Residential-R2 | False Alarm | b109 | moisture in room
2021-11-04 01:35 | 85a | La Aldea | Residential-R2 | False Alarm | H121 | Cooking in kitchen
2021-11-04 13:31 | 167a | HNRV | Residential-R2 | False Alarm | 2106 | DA called to report fire panel at the front desk and in the resident room on the 2nd floor was sounding, and that UAPD said there was no fire emergency in the building but that they could not silence alarm. DA was told by UAPD they would connect them directly with fire safety to address the issue.
2021-11-03 20:00 | 151 | BABC | Residential-R2 | False Alarm | 2nd floor | RA called because fire alarm box on second floor had been going off- UAPD responded and was able to address. UAPD said box was probably triggered by accidental physical contact or pressure put against it. UAPD suggested building CD work with fire safety take a look at box in the morning.
UAPD Case Number V213080007
2021-11-06 11:37 | 50/50a | APSC | Residential-R2 | False Alarm | 220 | Fire alarm in room set off by steamed food. UAPD responded to turn alarm off
UAPD Case Number V213100071
2021-11-06 12:21 | 50/50a | APSC | Residential-R2 | False Alarm | 359 | Smoke alarm in room set off by hair appliance. UAPD responded to turn off alarm.
UAPD Case Number V213100073
2021-11-06 12:49 | 50/50a | APSC | Residential-R2 | False Alarm | 246 | Smoke alarm in room set off by hair appliance. UAPD responded to turn off alarm.
UAPD Case Number V213100075
2021-11-07 15:52 | 85 | Coronado | Residential-R2 | False Alarm | 960 | RAOD called CDOC due to UAPD presence in the building for residents smoke alarm going off due to a burnt quesadilla.
UAPD Case Number V213110061
2021-11-07 06:20 | 85a | La Aldea | Residential-R2 | False Alarm | 2c | Muliple calls between CDOC and GRA. GRA reported loud alarm noise coming from what seemed to be fire panel room. CD advised GRA to call UAPD. UAPD responded and turned off fire panel. UAPD reported that the problem was in the 2C electrical room. GRA to file a maintence request.
UAPD Case Number V213110032
2021-11-08 08:05 | 118 | La Paz | Residential-R2 | False Alarm | s207 | UAPD responded to smoke coming out of a window but resident was blow drying hair. UAPD arrived but didn't see anything.
UAPD Case Number V213120030
2021-11-08 09:33 | 118 | La Paz | Residential-R2 | False Alarm | s207 | DA called for UAPD in building due to same girl as before straightening her hair and it smoking and set off the fire alarm again
UAPD Case Number V213120034
2021-11-08 16:00 | 85 | Coronado | Residential-R2 | False Alarm | 230 | The room was CORO-230 due to a burnt waffle in a microwave, lol. UAPD responded to the scene. The case number is V213130001
2021-11-11 04:33 | 83/84 | Arizona/Sonora | Residential-R2 | False Alarm | Basement | Smoke came from air handler potentially due to washer that set off the fire alarm after filling two rooms with smoke. No actual fire. Call out approved to fix vent and door. See IR for more information.
UAPD Case Number U2111110003
2021-11-12 19:54 | 31 | Cochise |  | False Alarm | 23 | RAOD reported COCH 023's smoke alarm sounded. UAPD responded and could not pinpoint the cause, but found alcohol in the room. No residents were present in 023 at the time. See IR.
UAPD Case Number V213170013
2021-11-12 16:35 | 121 | Puente | Residential-R2 | False Alarm | None provided | Description RA informed CDOC that the fire alarm box went off. RA called UAPD dispatch and was guided on how to silence the alarm.
2021-11-13 13:17 | 83/84 | Arizona/Sonora | Residential-R2 | False Alarm | 512 | Description RAOD informed that UAPD responded to a fire alarm. Fire alarm was triggered by air freshener.
UAPD Case Number V213170074
2021-11-14 07:06 | 131 | Likins | Residential-R2 | False Alarm | 3b | RAOD consulted with RAOD that residents may have accidently bumped the fire alarm's clear cover which triggered the fire alarm. The fire alarm stopped once the clear cover was placed back on. RAOD noticed that the alarm cover was loose and wires seemed incorrectly placed. CDOC approved a call out to ERLM. ERLM instructed RA that on Monday the fire alarm cover will be inspected and UAPD is not needed.
2021-11-16 11:01 | 85 | Coronado | Residential-R2 | False Alarm | 117 | RAOD called because fire panel was going off in staff office but nowhere else in the building. RAOD instructed to call UAPD for further support/reset if necessary.
2021-11-17 13:14 | 135 | Pima Hall | Residential-R2 | False Alarm | 119 | RA called to report fire panel behind front desk going off. Instructed to call UAPD and to call back with further details. Student called back @ 9&%2358;26PM to report the alarm was triggered by Room 119, RA and UPAD knocked on room door but no response. Upon keying into the room RA and UAPD detected no smoke or anything that could trigger. Alarm reset.
UAPD Case Number V213210064
2021-11-20 12:43 | 131 | Likins |  | False Alarm | 350 | RA called to inform CDOC a fire alarm had gone off in room due to burnt food but had already been turned off by UAPD.
UAPD Case Number V2132400055
2021-11-21 10:39 | 34 | Yavapai |  | False Alarm | 202 | Calls between RA and CDOC because the fire alarm was going off in the building. RA informed CDOC that the resident was doing their hair when the alarm started going off. There was no fire, just smoke. Please see IR for further details.
UAPD Case Number V213250030
2021-11-23 02:30 | 167a | Honors Village | Residential-R2 | False Alarm | Front desk | DA called because an alarm was going off at front desk and did not know what steps to take. CDOC 1 instructed DA to wait for UAPD to investigate cause of alarm and they would shut it off.
2021-11-30 08:08 | 167a | Honor's Village | Residential-R2 |  | 6050 | Room fire alarm was going off. DAs called UAPD. Fire alarm was set off by burnt popcorn.
UAPD Case Number V2133340051
2021-11-28 13:10 | 118 | La Paz | Residential-R2 | False Alarm | L323 | Description&%2358; RAOD called to report Fire alarm in a room going off.
UAPD Case Number&%2358; V213320044
2021-12-01 18:17 | 167a | Honors Village | Residential-R2 | False Alarm | 2005 | Description RA called about fire alarm due to burnt food
UAPD Case Number V213360006
2021-12-01 16:16 | 7/7a | Manzanita/Mohave | Residential-R2 | False Alarm | Kitchen 110/108 | Fire alarm went off due to burnt salmon.
UAPD Case Number V213350053
2021-12-03 19:23 | 118 | La Paz | Residential-R2 | False Alarm | L314 | RA called about police presence in building to respond to fire alarm from resident room. No emergency/threat found, resident was just cooking.
2021-12-04 07:35 | 59/60 | Navajo/Pinal | Residential-R2 | False Alarm | na | RAOD called for fire panel going off in entire stadium. Entire dorm evacuated. UAPD/Tucson fire responded and reset fire panel, were unable to determine what triggered alarm,
2021-12-11 08:30 | 151 | Babcock | Residential-R2 | False Alarm | B117 | UAPD in building to reset fire panel. Alarm went off in B117.
2021-12-13 17:47 | 31 | Cochise | Residential-R2 | False Alarm | Kitchen | RA called for fire alarm going off in building. As CDOC was on the way to respond in person RA called back to let CDOC know UAPD was already there, had silenced alarm, and reason for alarm was burnt food in the kitchen. No immediate threat and UAPD gave all clear for residents to return to the building. See IR.
UAPD Case Number
V213480005
2021-12-14 00:30 | 131 | Likins |  | False Alarm | na | DA called for fire panel going off. Directed to call UAPD.
2021-12-21 00:33 | 167a | Honors Village | Residential-R2 | False Alarm | 4062 | that a smoke detector in room 4062 was set off by dust from some drywall work being done in the room. No smoke or fire and no evacuation.